## Sheet1
Preliminary Calculation of Prices & Dimensions
AB&CO Process Air DehumidifierTM
For determination of temperatures, flows and capacities, - and finding a suitable AB&CO process air drier.
| Process Air Side |  | Fill data the four blue values only. The red values will be the results.
| Temperature, Inlet |  | 30 | °C = | 86 | °F
| Humidity, Inlet |  | 23.3 | g / kg
| Temperature, Outlet |  | 5 | °C = | 41 | °F
| Humidity, Outlet |  | 5.3 | g / kg
| Mass Flow |  | 10000 | kg/h = | 22050 | lb/h
| Condensate Amount |  | 175.9015 | kg/h = | 387.8628 | lb/h
Coolant - Water
| Glycol content |  | 0 | %
| Temperature, Inlet |  | 2 | °C = | 35.6 | °F
| Temperature, Outlet |  | 8 | °C = | 46.4 | °F
| Specific Heat |  | 4.215 | kJ/(kg°C) = | 1.0067 | BTU/(lb°F)
| Mass Flow |  | 27330.0728 | kg/h = | 60262.8105 | lb/h
| Total Capacity |  | 191.9938 | kW = | 654698.7258 | BTU/h
AB&CO Dehumidifier
Gastight industrial cooler in a heavy duty stainless steel design with heat exchanger, pull-out dripcatcher, condensate
reservoir, drain, goose neck, flanges, counterflanges, adjustable legs.
Measurements and prices are approximate values suitable for budget projects only.
| Net Face Height: |  | 0.82664 | m = | 2.7121 | ft
| Net Face Width: |  | 1.1573 | m = | 3.7969 | ft
| Total Depth of Unit: |  | 1.1592 | m = | 3.8031 | ft
| Pressure Drop Air: |  | 324.6962 | Pa = | 0.047093 | psi
[11 empty] | 19 |  |  |  |  | #REF!
| Budget Price 2001: |  | 246628.3126 | DKK = | 33193.5818 | EURO |  |  |  |  | 1.5 |  |  |  |  | #REF!
[11 empty] | 12 |  |  |  |  | 17.3507 |  |  |  | #REF!
| Delivery year |  | 2020
| If this solution seems to be attractive, and you would like to use this heater in your project, please contact our | [9 empty] | 11 |  |  |  |  | 960.95 |  |  |  | #REF!
| Sales & Projects Dept. for an exsact size and price. The above price is without any accessories e.g. insulation | [14 empty] | #REF! |  |  |  | #REF!
| with cover sheets, counter flangers, armatures and supporting legs. Price is excluding VAT, duties and tax | [9 empty] | 3 |  |  |  |  | 0
| - based on delivery EXW Copenhagen. | [14 empty] | 1 |  |  |  | #REF! | -11 | NA | NA | NA
[8 empty] | 0.1 | 45.8 | 2392.97 | 3912 |  |  |  |  | 2 |  |  |  |  | -10 | 1.006 | 0.02375 | 16.625
| NOTE: All above values are preliminary only, given without any responsibility for ABCO. | [6 empty] | 0.15 | 53.997 | 2373.2 | [5 empty] | 1 |  |  |  |  | -9 | 1.006 | 0.023825 | 16.6725
[8 empty] | 0.173 | 57 | 2366 | 17 |  |  |  |  | 1 |  |  |  |  | -8 | 1.006 | 0.0239 | 16.72
AB&CO - TT BOILERS A/S ¦ Copenhagen, Denmark ¦ T: +45 4817 7599 W: www.abco.dk | [7 empty] | 0.2 | 60.1 | 2358.45 | 240 |  |  |  |  | 1 |  |  |  |  | -7 | 1.006 | 0.023975 | 16.7675
[8 empty] | 0.25 | 64.992 | 2346.4 | [5 empty] | 1 |  |  |  |  | -6 | 1.006 | 0.02405 | 16.815
[8 empty] | 0.3 | 69.5 | 2334 | 0.0001 |  |  |  |  | 1 |  |  |  |  | -5 | 1.006 | 0.024125 | 16.8625
[8 empty] | 0.35 | 72.5 | 2323.5 | 5e-05 | [9 empty] | -4 | 1.006 | 0.0242 | 16.91
[8 empty] | 0.375 | 74.193 | 2321.25 | [10 empty] | -3 | 1.006 | 0.024275 | 16.9575
[8 empty] | 0.4 | 75.886 | 2319 | [10 empty] | -2 | 1.006 | 0.02435 | 17.005
[8 empty] | 0.45 | 78.693 | 2311.5 | 1.05 |  |  |  |  | 265 |  |  |  |  | -1 | 1.006 | 0.024425 | 17.0525
[8 empty] | 0.5 | 81.5 | 2304 | 17.5 |  |  |  |  | 44 |  |  |  |  | 0 | 1.006 | 0.0245 | 17.1
[8 empty] | 0.65 | 87.5 | 2289 | 17.848 |  |  |  |  | 28 |  |  |  |  | 1 | 1.0061 | 0.024575 | 17.144
[8 empty] | 0.8 | 93.5 | 2274 | 0.025775 |  |  |  |  | 23 |  |  |  |  | 2 | 1.0061 | 0.02465 | 17.188
[8 empty] | 1 | 99.63 | 2257.89 | 1.0069 | [9 empty] | 3 | 1.0061 | 0.024725 | 17.232
[8 empty] | 1.06 | 101.3 | 2254.3 | 0.6972 |  |  |  |  | 0.05 |  |  |  |  | 4 | 1.0062 | 0.0248 | 17.276
[8 empty] | 1.1 | 102.32 | 2250.76 | [5 empty] | 1 |  |  |  |  | 5 | 1.0063 | 0.024779 | 17.2757
[8 empty] | 1.3 | 106.81 | 2238.555 | 16 |  |  |  |  | 5 |  |  |  |  | 6 | 1.0063 | 0.02495 | 17.364
|  |  | 2 |  |  |  |  | 1.5 | 111.3 | 2226.35 | 19 |  |  |  |  | 0 |  |  |  |  | 7 | 1.0063 | 0.025025 | 17.408
[8 empty] | 1.75 | 115.75 | 2213.975 | 20 | [9 empty] | 8 | 1.0064 | 0.0251 | 17.452
|  |  | 163980.4366 |  |  |  |  | 2 | 120.2 | 2201.6 | 2.3091 | [9 empty] | 9 | 1.0065 | 0.025175 | 17.496
[8 empty] | 2.25 | 123.8 | 2191.35 | 46 | [9 empty] | 10 | 1.0065 | 0.025154 | 17.4957
[8 empty] | 2.5 | 127.4 | 2181.1 | 40 |  |  |  |  | #REF! | #REF! | #REF! |  |  | 11 | 1.0065 | 0.025325 | 17.584
|  |  | 191993.7612 |  |  |  |  | 2.75 | 130.45 | 2172.185 | [5 empty] | #REF! | #REF! | #REF! |  |  | 12 | 1.0066 | 0.0254 | 17.628
|  |  | #REF! |  |  |  |  | 3 | 133.5 | 2163.27 | 0.0015 |  |  |  |  | #REF! | #REF! | #REF! |  |  | 13 | 1.0067 | 0.025475 | 17.672
|  |  | -11.1927 |  |  |  |  | 3.5 | 138.9 | 2147.37 | [5 empty] | #REF! | #REF! | #REF! |  |  | 14 | 1.0067 | 0.02555 | 17.716
|  |  | #REF! |  |  |  |  | 4 | 143.6 | 2132.93 | 0.0005 |  |  |  |  | #REF! | #REF! | #REF! |  |  | 15 | 1.0067 | 0.025529 | 17.7157
[8 empty] | 4.5 | 147.9 | 2119.76 | [5 empty] | #REF! | #REF! | #REF! |  |  | 16 | 1.0068 | 0.0257 | 17.804
[8 empty] | 5 | 151.8 | 2107.38 | 1.1077 |  |  |  |  | #REF! | #REF! | #REF! |  |  | 17 | 1.0069 | 0.025775 | 17.848
|  |  | 2.3009 |  |  |  |  | 5.5 | 155.5 | 2095.9 | [5 empty] | #REF! | #REF! | #REF! |  |  | 18 | 1.0069 | 0.02585 | 17.892
|  |  | 0.76696 |  |  |  |  | 6 | 158.8 | 2085.08 | #REF! |  |  |  |  | 0 | 0 | 0 |  |  | 19 | 1.0069 | 0.025925 | 17.936
|  |  | 1.204 |  |  |  |  | 6.2 | 160 | 2081.3 | [5 empty] | #REF! | #REF! | #REF! |  |  | 20 | 1.007 | 0.026 | 17.98
|  |  | 0.79813 |  |  |  |  | 6.5 | 162 | 2074.77 | #REF! |  |  |  |  | #REF! | #REF! | #REF! |  |  | 21 | 1.0071 | 0.026075 | 18.0215
|  |  | 17.3507 |  |  |  |  | 6.7 | 163 | 2071.4 | [5 empty] | #REF! | #REF! | #REF! |  |  | 22 | 1.0071 | 0.02615 | 18.063
|  |  | 0.96095 |  |  |  |  | 7 | 165 | 2064.94 | [5 empty] | #REF! | #REF! | #REF! |  |  | 23 | 1.0071 | 0.026225 | 18.1045
|  |  | 18.1144 |  |  |  |  | 7.5 | 167.8 | 2055.5 | [5 empty] | #REF! | #REF! | #REF! |  |  | 24 | 1.0072 | 0.0263 | 18.146
|  |  | #REF! |  |  |  |  | 8 | 170.4 | 2046.56 | [5 empty] | #REF! | #REF! | #REF! |  |  | 25 | 1.0072 | 0.026375 | 18.1875
[8 empty] | 8.5 | 172.9 | 2037.87 | 0.79417 |  |  |  |  | #REF! | #REF! | #REF! |  |  | 26 | 1.0073 | 0.02645 | 18.229
[8 empty] | 9 | 175.4 | 2029.46 | [5 empty] | #REF! | #REF! | #REF! |  |  | 27 | 1.0073 | 0.026525 | 18.2705
|  |  | #REF! |  |  |  |  | 9.5 | 177.7 | 2021.38 | 3 |  |  |  |  | #REF! | #REF! | #REF! |  |  | 28 | 1.0074 | 0.0266 | 18.312
[5 empty] | 2.3343 |  |  | 10 | 179.9 | 2013.59 | [5 empty] | #REF! | #REF! | #REF! |  |  | 29 | 1.0074 | 0.026675 | 18.3535
[5 empty] | 1.19 |  |  | 10.5 | 182 | 2006.4 | 3.7775 |  |  |  |  | #REF! | #REF! | #REF! |  |  | 30 | 1.0075 | 0.02675 | 18.395
[5 empty] | 2.44 |  |  | 11 | 184.1 | 1998.58 | [5 empty] | #REF! | #REF! | #REF! |  |  | 31 | 1.0075 | 0.026825 | 18.4365
[5 empty] | 0.95667 |  |  | 11.5 | 186 | 1991.3 | [10 empty] | 32 | 1.0076 | 0.0269 | 18.478
[8 empty] | 11.7 | 187 | 1988.48 | [6 empty] | #REF! | #REF! |  |  | 33 | 1.0076 | 0.026975 | 18.5195
[5 empty] | 3 |  |  | 12 | 188 | 1984.27 | [10 empty] | 34 | 1.0077 | 0.02705 | 18.561
[8 empty] | 12.2 | 188.7 | 1981.57 | [10 empty] | 35 | 1.0077 | 0.027125 | 18.6025
|  | 35.6 |  |  | 999.8 |  |  | 13 | 191.6 | 1970.7 | 20 | [9 empty] | 36 | 1.0078 | 0.0272 | 18.644
[8 empty] | 13.5 | 193.3 | 1964.1 | [10 empty] | 37 | 1.0078 | 0.027275 | 18.6855
|  | 361576.8628 |  |  | 18 |  |  | 14 | 195 | 1957.73 | [10 empty] | 38 | 1.0079 | 0.02735 | 18.727
[8 empty] | 14.5 | 196.8 | 1951.6 | 12 | [9 empty] | 39 | 1.0079 | 0.027425 | 18.7685
[5 empty] | -25 |  |  | 15 | 198.3 | 1945.24 | #REF! | [9 empty] | 40 | 1.008 | 0.0275 | 18.81
[8 empty] | 15.5 | 199.85 | 1939.2 | 2.3091 |  | a | #REF! | Afdrejning: |  |  | #REF! |  |  | 41 | 1.008 | 0.02757 | 18.856
[5 empty] | 87.6758 | 18.2316 |  | 16 | 201.4 | 1933.14 | 46 |  | eq | 2.3 | [6 empty] | 42 | 1.0081 | 0.02764 | 18.902
[5 empty] | -69.4442 |  |  | 16.5 | 202.86 | 1927.3 | 40 |  | el | 2 | [6 empty] | 43 | 1.0082 | 0.02771 | 18.948
[8 empty] | 17 | 204.3 | 1921.56 | 240 |  |  |  | Andre materialer/tegn./godkend. | [5 empty] | 44 | 1.0082 | 0.02778 | 18.994
[5 empty] | 4.215 |  |  | 17.5 | 205.72 | 1915.9 | [10 empty] | 45 | 1.0082 | 0.02785 | 19.04
[8 empty] | 18 | 207.1 | 1910.23 |  |  |  |  | Rørplader (200+80) mm x B |  | #REF! |  |  |  | 46 | 1.0083 | 0.02792 | 19.086
[5 empty] | 56.4522 |  |  | 18.5 | 208.47 | 1904.7 | #REF! |  |  |  | Samlerør (2 stk. halvrør pr. modul) |  | #REF! |  |  |  | 47 | 1.0084 | 0.02799 | 19.132
[5 empty] | 9.5361 |  |  | 19 | 209.8 | 1899.29 | #REF! |  |  |  | Ende/skilleplader |  | #REF! |  |  |  | 48 | 1.0084 | 0.02806 | 19.178
[5 empty] | 356.6448 |  |  | 19.5 | 211.1 | 1893 |  |  |  |  | Flange/rør/fittings: |  | #REF! |  |  |  | 49 | 1.0084 | 0.02813 | 19.224
[5 empty] | 559.1991 |  |  | 20 | 212.4 | 1888.61 | #REF! | #REF! | 2 | [7 empty] | 50 | 1.0085 | 0.0282 | 19.27
[8 empty] | 21 | 214.8 | 1878.38 |  |  |  |  | Sideplader 2 mm |  | #REF! |  |  |  | 51 | 1.0086 | 0.02827 | 19.316
[6 empty] | 10000 |  | 22 | 217.2 | 1868.15 | #REF! | 0 |  |  | Bundplade ved flydende bund: |  | #REF! |  |  |  | 52 | 1.0086 | 0.02834 | 19.362
[8 empty] | 23 | 219.5 | 1858.31 | 0.036637 | m |  |  | Flanger luftside: |  | #REF! |  |  |  | 53 | 1.0086 | 0.02841 | 19.408
[6 empty] | 30 |  | 24 | 221.8 | 1848.47 |  |  |  |  | Måle- og tømmestudse: |  | 300 |  |  |  | 54 | 1.0087 | 0.02848 | 19.454
[6 empty] | 23.3 |  | 25 | 223.9 | 1839.075 | #REF! |  |  |  | 3.1.B certifikater |  | 500 |  |  |  | 55 | 1.0088 | 0.02855 | 19.5
[8 empty] | 26 | 226 | 1829.68 | 0.99963 |  |  |  | Isolering & Beklædning: |  | #REF! |  |  |  | 56 | 1.0088 | 0.02862 | 19.546
[6 empty] | 5 |  | 26.5 | 227 | 1825.1 |  |  |  |  | Bolte & pakninger: |  | #REF! |  |  |  | 57 | 1.0088 | 0.02869 | 19.592
[6 empty] | 5.3 |  | 27 | 228 | 1820.6 | #REF! |  |  |  | Stativ |  | #REF! |  |  |  | 58 | 1.0089 | 0.02876 | 19.638
[8 empty] | 27.5 | 229 | 1815.8 | #REF! |  |  |  | Diverse (svejsetråd m.v.): |  | #REF! |  |  |  | 59 | 1.009 | 0.02883 | 19.684
[6 empty] | 175.9015 |  | 28 | 230 | 1811.52 | #REF! | [9 empty] | 60 | 1.009 | 0.0289 | 19.73
[8 empty] | 29 | 231.9 | 1802.71 |  |  |  |  | TOTAL 21-31: |  |  | #REF! |  |  | 61 | 1.0091 | 0.028975 | 19.78
[6 empty] | -191.9938 |  | 30 | 233.8 | 1793.9 | #REF! | [9 empty] | 62 | 1.0091 | 0.02905 | 19.83
[8 empty] | 31 | 235.7 | 1785.4 | [10 empty] | 63 | 1.0091 | 0.029125 | 19.88
[6 empty] | 27330.0728 |  | 33 | 239.18 | 1768.6 | #REF! |  | #REF! |  | Tillæg for rørplader over 5 mm |  |  | 0 |  |  | 64 | 1.0092 | 0.0292 | 19.93
[6 empty] | 0 | % | 35 | 242.5 | 1752.2 | #REF! |  | #REF! |  | (15 kr./hul i arbejdstid; 5 kr/hul i materialer) | [5 empty] | 65 | 1.0092 | 0.029275 | 19.98
[6 empty] | 2 |  | 37 | 245 | 1736.2 | #REF! | [9 empty] | 66 | 1.0093 | 0.02935 | 20.03
[6 empty] | 8 |  | 40 | 250 | 1712.9 | #REF! |  |  |  | Værksted andel inkl. ekstraudstyr: |  |  | #REF! |  |  | 67 | 1.0093 | 0.029425 | 20.08
[8 empty] | 42 | 253 | 1697.8 | #REF! | [9 empty] | 68 | 1.0094 | 0.0295 | 20.13
[8 empty] | 45 | 257 | 1675.6 | #REF! |  |  |  | Rørpris : |  |  | #REF! |  |  | 69 | 1.0094 | 0.029575 | 20.18
[6 empty] | 826.6399 | mm | 47 | 260 | 1661.1 | #REF! | [9 empty] | 70 | 1.0095 | 0.02965 | 20.23
[6 empty] | 1157.2958 | mm | 50 | 264 | 1639.7 | #REF! |  |  |  | Fratrukket | [5 empty] | 71 | 1.0095 | 0.029725 | 20.28
[8 empty] | 55 | NA | NA | #REF! |  |  |  | Ekstraudstyr separat priser: |  |  | #REF! | #REF! |  | 72 | 1.0096 | 0.0298 | 20.33
[6 empty] | 1159.1991 | mm | 56.5 | NA | NA | 0.86667 | [9 empty] | 73 | 1.0096 | 0.029875 | 20.38
[8 empty] | 57 | NA | NA | 1.073 | kun for el > 1 |  |  | IALT, uden udstyr: |  |  | #REF! | #REF! |  | 74 | 1.0097 | 0.02995 | 20.43
[8 empty] | 58 | NA | NA | 2.4285 | [9 empty] | 75 | 1.0097 | 0.030025 | 20.48
[7 empty] | 106904.2668 | 59 | NA | NA | 1.2919 | [9 empty] | 76 | 1.0098 | 0.0301 | 20.53
[8 empty] | 60 | NA | NA | #REF! | [9 empty] | 77 | 1.0098 | 0.030175 | 20.58
[8 empty] | 63.3 | NA | NA | #REF! | [9 empty] | 78 | 1.0099 | 0.03025 | 20.63
[8 empty] | 90 | NA | NA | #REF! | [9 empty] | 79 | 1.0099 | 0.030325 | 20.68
[11 empty] | #REF! | [9 empty] | 80 | 1.01 | 0.0304 | 20.73
[21 empty] | 81 | 1.0101 | 0.03047 | 20.7735
[21 empty] | 82 | 1.0102 | 0.03054 | 20.817
[21 empty] | 83 | 1.0103 | 0.03061 | 20.8605
[21 empty] | 84 | 1.0104 | 0.03068 | 20.904
[21 empty] | 85 | 1.0105 | 0.03075 | 20.9475
[21 empty] | 86 | 1.0106 | 0.03082 | 20.991
[21 empty] | 87 | 1.0107 | 0.03089 | 21.0345
[21 empty] | 88 | 1.0108 | 0.03096 | 21.078
[21 empty] | 89 | 1.0109 | 0.03103 | 21.1215
[21 empty] | 90 | 1.011 | 0.0311 | 21.165
[21 empty] | 91 | 1.0111 | 0.03117 | 21.2085
[21 empty] | 92 | 1.0112 | 0.03124 | 21.252
[21 empty] | 93 | 1.0113 | 0.03131 | 21.2955
[21 empty] | 94 | 1.0114 | 0.03138 | 21.339
[21 empty] | 95 | 1.0115 | 0.03145 | 21.3825
[21 empty] | 96 | 1.0116 | 0.03152 | 21.426
[21 empty] | 97 | 1.0117 | 0.03159 | 21.4695
[21 empty] | 98 | 1.0118 | 0.03166 | 21.513
[21 empty] | 99 | 1.0119 | 0.03173 | 21.5565
[21 empty] | 100 | 1.012 | 0.0318 | 21.6
[21 empty] | 101 | 1.0121 | 0.03187 | 21.6415
[21 empty] | 102 | 1.0122 | 0.03194 | 21.683
[21 empty] | 103 | 1.0123 | 0.03201 | 21.7245
[21 empty] | 104 | 1.0124 | 0.03208 | 21.766
[21 empty] | 105 | 1.0125 | 0.03215 | 21.8075
[21 empty] | 106 | 1.0126 | 0.03222 | 21.849
[21 empty] | 107 | 1.0127 | 0.03229 | 21.8905
[21 empty] | 108 | 1.0128 | 0.03236 | 21.932
[21 empty] | 109 | 1.0129 | 0.03243 | 21.9735
[21 empty] | 110 | 1.013 | 0.0325 | 22.015
[21 empty] | 111 | 1.0131 | 0.03257 | 22.0565
[21 empty] | 112 | 1.0132 | 0.03264 | 22.098
[21 empty] | 113 | 1.0133 | 0.03271 | 22.1395
[21 empty] | 114 | 1.0134 | 0.03278 | 22.181
[21 empty] | 115 | 1.0135 | 0.03285 | 22.2225
[21 empty] | 116 | 1.0136 | 0.03292 | 22.264
[21 empty] | 117 | 1.0137 | 0.03299 | 22.3055
[21 empty] | 118 | 1.0138 | 0.03306 | 22.347
[21 empty] | 119 | 1.0139 | 0.03313 | 22.3885
[21 empty] | 120 | 1.014 | 0.0332 | 22.43
[21 empty] | 121 | 1.0142 | 0.033275 | 22.468
[21 empty] | 122 | 1.0143 | 0.03335 | 22.506
[21 empty] | 123 | 1.0145 | 0.033425 | 22.544
[21 empty] | 124 | 1.0146 | 0.0335 | 22.582
[21 empty] | 125 | 1.0148 | 0.033575 | 22.62
[21 empty] | 126 | 1.0149 | 0.03365 | 22.658
[21 empty] | 127 | 1.0151 | 0.033725 | 22.696
[21 empty] | 128 | 1.0152 | 0.0338 | 22.734
[21 empty] | 129 | 1.0153 | 0.033875 | 22.772
[21 empty] | 130 | 1.0155 | 0.03395 | 22.81
[21 empty] | 131 | 1.0156 | 0.034025 | 22.848
[21 empty] | 132 | 1.0158 | 0.0341 | 22.886
[21 empty] | 133 | 1.0159 | 0.034175 | 22.924
[21 empty] | 134 | 1.0161 | 0.03425 | 22.962
[21 empty] | 135 | 1.0163 | 0.034325 | 23
[21 empty] | 136 | 1.0164 | 0.0344 | 23.038
[21 empty] | 137 | 1.0165 | 0.034475 | 23.076
[21 empty] | 138 | 1.0167 | 0.03455 | 23.114
[21 empty] | 139 | 1.0168 | 0.034625 | 23.152
[21 empty] | 140 | 1.017 | 0.0347 | 23.19
[21 empty] | 141 | 1.0171 | 0.03477 | 23.231
[21 empty] | 142 | 1.0173 | 0.03484 | 23.272
[21 empty] | 143 | 1.0174 | 0.03491 | 23.313
[21 empty] | 144 | 1.0176 | 0.03498 | 23.354
[21 empty] | 145 | 1.0177 | 0.03505 | 23.395
[21 empty] | 146 | 1.0179 | 0.03512 | 23.436
[21 empty] | 147 | 1.018 | 0.03519 | 23.477
[21 empty] | 148 | 1.0182 | 0.03526 | 23.518
[21 empty] | 149 | 1.0183 | 0.03533 | 23.559
[21 empty] | 150 | 1.0185 | 0.0354 | 23.6
[21 empty] | 151 | 1.0187 | 0.03547 | 23.641
[21 empty] | 152 | 1.0188 | 0.03554 | 23.682
[21 empty] | 153 | 1.019 | 0.03561 | 23.723
[21 empty] | 154 | 1.0191 | 0.03568 | 23.764
[21 empty] | 155 | 1.0192 | 0.03575 | 23.805
[21 empty] | 156 | 1.0194 | 0.03582 | 23.846
[21 empty] | 157 | 1.0195 | 0.03589 | 23.887
[21 empty] | 158 | 1.0197 | 0.03596 | 23.928
[21 empty] | 159 | 1.0198 | 0.03603 | 23.969
[21 empty] | 160 | 1.02 | 0.0361 | 24.01
[21 empty] | 161 | 1.0202 | 0.03617 | 24.055
[21 empty] | 162 | 1.0203 | 0.03624 | 24.1
[21 empty] | 163 | 1.0205 | 0.03631 | 24.145
[21 empty] | 164 | 1.0206 | 0.03638 | 24.19
[21 empty] | 165 | 1.0208 | 0.03645 | 24.235
[21 empty] | 166 | 1.0209 | 0.03652 | 24.28
[21 empty] | 167 | 1.0211 | 0.03659 | 24.325
[21 empty] | 168 | 1.0212 | 0.03666 | 24.37
[21 empty] | 169 | 1.0213 | 0.03673 | 24.415
[21 empty] | 170 | 1.0215 | 0.0368 | 24.46
[21 empty] | 171 | 1.0216 | 0.03687 | 24.505
[21 empty] | 172 | 1.0218 | 0.03694 | 24.55
[21 empty] | 173 | 1.0219 | 0.03701 | 24.595
[21 empty] | 174 | 1.0221 | 0.03708 | 24.64
[21 empty] | 175 | 1.0222 | 0.03715 | 24.685
[21 empty] | 176 | 1.0224 | 0.03722 | 24.73
[21 empty] | 177 | 1.0225 | 0.03729 | 24.775
[21 empty] | 178 | 1.0227 | 0.03736 | 24.82
[21 empty] | 179 | 1.0228 | 0.03743 | 24.865
[21 empty] | 180 | 1.023 | 0.0375 | 24.91
[21 empty] | 181 | 1.0232 | 0.03757 | 24.9495
[21 empty] | 182 | 1.0233 | 0.03764 | 24.989
[21 empty] | 183 | 1.0234 | 0.03771 | 25.0285
[21 empty] | 184 | 1.0236 | 0.03778 | 25.068
[21 empty] | 185 | 1.0237 | 0.03785 | 25.1075
[21 empty] | 186 | 1.0239 | 0.03792 | 25.147
[21 empty] | 187 | 1.024 | 0.03799 | 25.1865
[21 empty] | 188 | 1.0242 | 0.03806 | 25.226
[21 empty] | 189 | 1.0243 | 0.03813 | 25.2655
[21 empty] | 190 | 1.0245 | 0.0382 | 25.305
[21 empty] | 191 | 1.0247 | 0.03827 | 25.3445
[21 empty] | 192 | 1.0248 | 0.03834 | 25.384
[21 empty] | 193 | 1.025 | 0.03841 | 25.4235
[21 empty] | 194 | 1.0251 | 0.03848 | 25.463
[21 empty] | 195 | 1.0252 | 0.03855 | 25.5025
[21 empty] | 196 | 1.0254 | 0.03862 | 25.542
[21 empty] | 197 | 1.0255 | 0.03869 | 25.5815
[21 empty] | 198 | 1.0257 | 0.03876 | 25.621
[21 empty] | 199 | 1.0258 | 0.03883 | 25.6605
[21 empty] | 200 | 1.026 | 0.0389 | 25.7
[21 empty] | 201 | 1.0262 | 0.03897 | 25.734
[21 empty] | 202 | 1.0264 | 0.03904 | 25.768
[21 empty] | 203 | 1.0265 | 0.03911 | 25.802
[21 empty] | 204 | 1.0267 | 0.03918 | 25.836
[21 empty] | 205 | 1.0269 | 0.03925 | 25.87
[21 empty] | 206 | 1.0271 | 0.03932 | 25.904
[21 empty] | 207 | 1.0273 | 0.03939 | 25.938
[21 empty] | 208 | 1.0274 | 0.03946 | 25.972
[21 empty] | 209 | 1.0276 | 0.03953 | 26.006
[21 empty] | 210 | 1.0278 | 0.0396 | 26.04
[21 empty] | 211 | 1.028 | 0.03967 | 26.074
[21 empty] | 212 | 1.0282 | 0.03974 | 26.108
[21 empty] | 213 | 1.0283 | 0.03981 | 26.142
[21 empty] | 214 | 1.0285 | 0.03988 | 26.176
[21 empty] | 215 | 1.0287 | 0.03995 | 26.21
[21 empty] | 216 | 1.0289 | 0.04002 | 26.244
[21 empty] | 217 | 1.0291 | 0.04009 | 26.278
[21 empty] | 218 | 1.0292 | 0.04016 | 26.312
[21 empty] | 219 | 1.0294 | 0.04023 | 26.346
[21 empty] | 220 | 1.0296 | 0.0403 | 26.38
[21 empty] | 221 | 1.0298 | 0.04037 | 26.414
[21 empty] | 222 | 1.03 | 0.04044 | 26.448
[21 empty] | 223 | 1.0301 | 0.04051 | 26.482
[21 empty] | 224 | 1.0303 | 0.04058 | 26.516
[21 empty] | 225 | 1.0305 | 0.04065 | 26.55
[21 empty] | 226 | 1.0307 | 0.04072 | 26.584
[21 empty] | 227 | 1.0309 | 0.04079 | 26.618
[21 empty] | 228 | 1.031 | 0.04086 | 26.652
[21 empty] | 229 | 1.0312 | 0.04093 | 26.686
[21 empty] | 230 | 1.0314 | 0.041 | 26.72
[21 empty] | 231 | 1.0316 | 0.04107 | 26.754
[21 empty] | 232 | 1.0318 | 0.04114 | 26.788
[21 empty] | 233 | 1.0319 | 0.04121 | 26.822
[21 empty] | 234 | 1.0321 | 0.04128 | 26.856
[21 empty] | 235 | 1.0323 | 0.04135 | 26.89
[21 empty] | 236 | 1.0325 | 0.04142 | 26.924
[21 empty] | 237 | 1.0327 | 0.04149 | 26.958
[21 empty] | 238 | 1.0328 | 0.04156 | 26.992
[21 empty] | 239 | 1.033 | 0.04163 | 27.026
[21 empty] | 240 | 1.0332 | 0.0417 | 27.06
[21 empty] | 241 | 1.0334 | 0.04177 | 27.094
[21 empty] | 242 | 1.0336 | 0.04184 | 27.128
[21 empty] | 243 | 1.0337 | 0.04191 | 27.162
[21 empty] | 244 | 1.0339 | 0.04198 | 27.196
[21 empty] | 245 | 1.0341 | 0.04205 | 27.23
[21 empty] | 246 | 1.0343 | 0.04212 | 27.264
[21 empty] | 247 | 1.0345 | 0.04219 | 27.298
[21 empty] | 248 | 1.0346 | 0.04226 | 27.332
[21 empty] | 249 | 1.0348 | 0.04233 | 27.366
[21 empty] | 250 | 1.035 | 0.0424 | 27.4
[21 empty] | 251 | NA | NA | NA